## Slide 1
FAI Workflows
MAP Client FAI Workshop
September 2016
MAP

## Slide 3: FAI & the MAP Client
Rigid-body model
Continuum model
MAP
Notes: One goal of the MAP Client is to provide more patient specific rigid body models

## Slide 4: FAI Workflows
Bone Mesh Generation
  Lower-limb bone shape model to fuse mocap and sparse MRI segmentations
OpenSim Model Generation
  Customise Gait2392 with geometric parameters from mocap markers and bone meshes

## Slide 5: FAI Workflows
Rigid-body model
Continuum model
Bone Mesh Generation
Osim Model Generation

## Slide 6: 1. Bone Mesh Generation
Estimate bone shape from markers
Register mesh to segmentation
Fit mesh locally to segmentation

## Slide 7: Lower limb shape model
=
+
+
PC1
PC3
PC2
Notes: So we used a statistical shape model of the lower limb with articulation to predict realistic geometries from sparse data.

## Slide 8: Marker Registration
[Zhang et al. (2016) In Review]
Notes: The model is fitted to the markers in red by optimising its shape and kinematic parameters

## Slide 9: Per-bone Fitting
ICP Rigid-body registration to segmentation
Non-rigid least-squares fit of mesh to partially segmented surfaces
Notes: The model is fitted to the markers in red by optimising its shape and kinematic parameters

## Slide 10: Lower Limb Marker Reconstruction Errors
Results
 | LL SM |  | Iso-scaling |  | p-value
 | mean(sd) | max | mean(sd) | max | 
Pelvis | 4.23 (1.05) | 6.12 | 5.46 (1.64) | 10.62 | <0.001
Femur | 4.57 (1.75) | 8.95 | 5.41 (2.15) | 10.20 | 0.02
Tibia and Fibula | 3.63 (0.79) | 5.80 | 3.67 (0.95) | 5.93 | 0.41
Patella | 5.59 (1.49) | 9.03 | 5.48 (2.04) | 12.05 | 0.35
Combined | 4.28 (0.80) | 6.06 | 5.22 (1.37) | 9.47 | 0.01
Target Landmark | 3.43 (1.31) | 5.34 | 6.82 (2.91) | 15.90 | <0.001
Val. Landmarks | 8.59 (2.29) | 14.37 | 10.82 (3.86) | 22.92 | 0.001
[Zhang et al. (2016) In Review]
Notes: Surface error was around 4.5 mm RMS for the shape model estimated models, which was significantly better than isotropic scaling.
This was mainly due to much better estimations of pelvis and femur shape.
Landmark error was also significantly lower for the shape model
Model fitting converges for all shape model trials, while isotropic scaling failed for 6 subjects.

## Slide 11: Femur Partial Reconstruction Errors
Error Metric | Recon Method | Recon Error
Surface (mm) | SM | 1.75 ±0.31
 | LS | 19.06 ±4.77
(deg.) | SM | 0.15 ±0.09
 | LS | 5.53 ±2.78
(deg.) | SM | 0.07 ±0.04
 | LS | 2.74 ±1.04
(deg.) | SM | 0.15 ±0.08
 | LS | 5.62 ±2.64
Error Metric | Recon Method | Recon Error
Surface (mm) | SM | 1.75 ±0.31
 | LS | 19.06 ±4.77
 | SM | 0.15 ±0.09
 | LS | 5.53 ±2.78
 | SM | 0.07 ±0.04
 | LS | 2.74 ±1.04
 | SM | 0.15 ±0.08
 | LS | 5.62 ±2.64
[Zhang et al. (2016) In Review]

## Slide 12: 2. OpenSim Model Generation
Reassemble fitted meshes in mocap frame
Extract geometric properties to modify Gait2392

## Slide 13: Patient-specific customisation
Joint locations
Inertial properties
Muscle path points
Visual geometry

## Slide 14: Customising Gait2392
One of the most widely used OpenSim models
  >115,000 downloads from simtk.org
  >24,000 unique users

## Slide 15: Customising Gait2392
Joint locations
  Knee joint splines
Visual geometry

## Slide 16: Customising Gait2392
Joint locations
Visual geometry
Muscle path points
  Freeform deformation based on bone geometry
Gait2392
reference
Customised

## Slide 17: Customising Gait2392
Joint locations
Visual geometry
Muscle path points
Scale factors from markers and meshes
Scaled inertial properties
Scaled torso, feet (no shape models)

## Slide 18: Customising Gait2392
Joint locations
Visual geometry
Muscle path points
Scale factors from markers and meshes
Scaled inertial properties
Scaled torso, feet (no shape models)
Customisation performed using OpenSim Python API

## Slide 19: Customising Gait2392
Validation
  Hamner 2010 running model
  Customise to published markerset
  Compare customised model to published model
vs
  [Hamner et al
  (2010) J. Biomech]

## Slide 20: Validation Against Hamner 2010
Model Parameter Differences |  |  | 
Parameter | Mean | S.D. | Max
Body Mass (kg) | 0.5 (2.4%) | 0.7 (10.4%) | 1.8 (21.1%) [pelvis]
Body CoM (mm) | 9.6 | 16.8 | 61.7 [torso]
Joint Loc. in Prt. (mm) | 26.6 | 26.8 | 69.4 [ankle_l]
Muscle Opt. Fib. Len (mm) | 4.7 (7.4%) | 10.9 (7.2%) | 30.5 (24.5%) [vas_med_l]
Muscle Tend.Sla.Len (mm) | 2.7 (7.4%) | 17.6 (7.2%) | 60.4 (24.9%) [rect_fem_l]
Muscle Path Pt. (mm) | 29.8 | 12.7 | 57.0 [grac_l]

## Slide 21: Validation Against Hamner 2010

## Slide 22: Acknowledgements
MAP
NZ: Thor Besier
Hugh Sorby
Peter Hunter
Poul Nielsen
Justin Fernandez
Kumar Mithraratne
Vickie Shim
Duane Malcolm
AUS: David Lloyd
Mark Taylor
John Clement
David Thomas
US Food & Drug Administration
National Center for Simulation in Rehabilitation Research
OpenSim
Scott Delp
Jennifer Hicks
Ajay Seth
Ayman Habib
James Dunne
Chris Dembia
Tom Uchida

## Slide 23: Build/Run Workflows
Follow instructions on the workflow pages.